
FLUORIDE TESTING AND FLUOROSIS MITIGATION IN SONEBHADRA DISTRICT

by

A.Gautam*, R.C.Tripathi*

1. INTRODUCTION

About 62 million people in India suffer from dental, skeletal and or non-skeletal fluorosis.(1)  Of these, 6 million are children below the age of 14.  Fluorosis is a crippling disease caused by fluoride concentrations above 1.5 mg/L in drinking water. In India about 20 states have been identified with a problem of excess fluoride in groundwater.  Rural populations who are mainly dependent on groundwater for drinking purposes, are the worst affected. Since the late 1980s, government and non-government agencies have launched efforts to control the spread of fluorosis. Despite these efforts, reports continue to appear indicating an increasing spread of fluorosis. This can either be due to identification of an existing problem in a new area, or a fresh incidence striking a hitherto unaffected population due to local environmental changes. 

Sonebhadra district lies in the eastern panhandle of Uttar Pradesh. Most of the well-known “Singrauli industrial area” falls in it. Several industries like thermal power plants and Hindalco, situated in this area, are also potential sources of fluorides in water and air.  Banwasi Seva Ashram (BSA), a local voluntary organization (VO), has identified many cases of fluorosis in dozens of villages of Chopan and Myorpur blocks. These blocks are dominated by tribal communities. Drinking water quality tests for fluoride content done by BSA in 1999 showed fluoride concentrations between 1.1 – 5.4 mg/L in surface water and 0.5 – 5.9 mg/L in groundwater.  

With the help of BSA, Peoples’ Science Institute (PSI) began a programme of fluoride testing and fluorosis mitigation in Sonebhadra district in September 2004. This paper presents  the findings of the water quality tests and the accompanying health surveys.   It also describes in a summary fashion the community-based activities for fluorosis mitigation planning.

II.  METHODOLOGY 

Health Survey

The staff and field workers of BSA helped identify villages where fluorosis cases had been reported. Medical professionals from BSA and PSI’s research scientists carried out a dental fluorosis survey of children (ages 6 to 16 years) in 41 schools in the targeted villages during October-November 2004. Children from all the schools filled out survey questionnaires. 

Water Quality Monitoring

[image: image1.wmf]Fig. 1  :Average fluoride conc. for different levels of fluorosis severity 

1.89

3.15

3.27

5.24

7.12

7.1

11.13

4.22

0

2

4

6

8

10

12

 Non

affected

Suspected

Mild dental

fluorosis

Moderate

dental

fluorosis

Severe

dental

fluorosis

Mild

skeletal

fluorosis

Moderate

skeletal

fluorosis

Crippling

skeletal

fluorosis

Severity of fluorosis

Fluoride conc. in mg/l.

Data gathered from the health survey of school children were summarized village-wise. Villages that had severe dental fluorosis in more than 50% children were selected for water quality monitoring. One hundred per cent monitoring of drinking water sources was done in these villages between December 2004 and March 2005. The sources included open concrete and dug well, hand pumps, natural streams, rivers and ponds (bandha). The water quality of 1477 water sources in 21 villages was monitored. Water quality parameters like pH, electrical conductivity, alkalinity, total hardness, calcium hardness, calcium, and fluoride were analyzed in the water sources. Due to logistical constraints, only fluoride was monitored in the water sources of two villages, i.e., Chetwa and Ammadad.

Sample Collection and Analysis

 
Three temporary field laboratories were set up in the target area. Samples were collected in polyethylene bottles, which were vigorously washed with detergents and rinsed with distilled water. As a precaution, all the sample bottles were again washed vigorously with the water to be tested. These samples were analyzed within 24 hours of collection in the field laboratories.  

Battery-operated handset pH and EC meters were used to test the pH and the electrical conductivity of the samples. Parameters other than fluoride such as alkalinity, total hardness, calcium hardness and calcium were analyzed by titrimetric methods. A fluoride ion meter (Model 290A+ Orion, USA) was used to analyze fluoride concentrations in the water samples. The standard methods of water analysis prescribed by the APHA were followed in analysis of all the parameters.(2) 

Community-Based Fluorosis Mitigation Planning 


A specially organized team of community workers, scientists and folk artists carried out a Sandesh Yatra for mobilizing the affected villages communities over three weeks in January ’05 and February’05, covering all the targeted 21 village. They informed the communities about the levels of fluoride contamination in the domestic water sources of their villages, the nature of fluorosis and possible measures for mitigation of the problem. Activities like puppet shows, street plays, dialogues with the villagers, posters pasting and distribution of pamphlets on fluorosis were carried out in each targeted village. Mapping of the fluoride content in the different drinking water sources along with the affected households was also done in each village. 


Once the water quality monitoring and Sandesh Yatra were over, a series of community meetings were held in each village to discuss plans for accessing safe water. The issues discussed at these meetings included options for mitigation, costs and management systems. Each village finally prepared detailed mitigation plans using this information. 

III. RESULTS AND DISCUSSION

Health Survey 


Over 3500 children participated in the dental fluorosis survey carried out in 41 primary, junior and higher secondary schools in the Chopan, Dudhi, Myorpur and Babhani blocks of Sonebhadra district. The survey results are summarized in Table 1.   

    Table: 1. Results of the Dental Fluorosis Survey

	S.No.
	Description
	Values

	1.
	No. of schools surveyed   
	41

	2
	No. of villages students are resident in 
	207

	3
	No. of villages with very high prevalence of  fluorosis  
	18

	4
	No. of villages with moderate prevalence of  fluorosis    
	82

	5
	No. of villages with mild prevalence of  fluorosis  
	36

	6
	Total no of villages with fluorosis cases
	136

	7
	Total no. of children surveyed
	3588

	8
	No. of children affected by mild dental fluorosis
	1300 (36%)

	9
	No. of children affected by moderate dental fluorosis
	447 (12 %)

	10
	No. children affected by severe dental fluorosis
	49 (1.2 %)

	11
	Total no. of children affected by dental fluorosis
	1796 (50%)

	12
	No. of children with suspected dental fluorosis
	424 (12%)

	13
	Total no. of children affected or suspected
	2219 (62%)


Water Quality of Village Water Sources

Table 2 shows a wide spatial variation in the values of all the water quality parameters analyzed. This variation indicates a varied geochemistry in the area. Parameters like pH, EC, alkalinity, hardness and calcium were found to be within the prescribed limits for most of the water sources. Calcium concentration was low in the water sources of most of the villages monitored. Fluoride concentrations were higher than the prescribed limit of 1.5-mg/l. in drinking water sources in most of the villages.  In addition to high fluoride content in ground water sources, it was also high in the surface water sources of Parwakodwari–Naibasti, Piparhawa, Kathaundhi, Kusmaha, Raspahari, Bhantawari, Rajo and Nemna villages. Fluoride concentrations were generally found to be high in water sources that had low calcium and high alkalinity.
Fluoride Concentration in Drinking Water Sources

Table 3 shows that fluoride concentrations varied between 0.2 –15.5 mg/l in all of the 1477 water sources monitored. The concentrations were observed to vary with the sources and the location in each village. Fluoride concentrations were much higher in ground water sources than the surface water sources. High fluoride concentration in the ground water is most likely due to fluoride bearing underground rock. Villages located near Beejpur and Renukoot may also be affected by fluoride emissions from the Rihand Super Thermal Power Plant and Hindalco respectively. 

Villages with high fluoride concentrations sources included Parwakodwari – Naibasti, Kusmaha and Bhantawari (with sources containing >15 mg/l), Samtharhawa. (<14 mg/l), Manbasa and Karamdad (both with sources above 12 mg/l), in Piparhawa (< 9 mg/l) and  Kathauthi, Raspahari , Bardad, Nemna, Rajmilan and Bichhiyari (all with with sources containing <8 mg/l).  

Table: 2.  Water Quality Profile of the Different Sources of Drinking Water

	S.

No.
	Village
	Kind of source
	No.  of 

Sources 
	 Water Quality Parameters

	(1)
	(2)
	(3)
	(4)
	pH

(5)
	EC (µmho/cm)

(6)
	Total Alkalinity        as

 CaCO3 (mg/l)

(7)
	Total

Hardness

     as

 CaCO3

 (mg/l)

(8)
	Calcium Hardness

    as

 CaCO3 (mg/l)

(9)
	Calcium

 as 

CaCO3 (mg/l)

(10)
	Fluoride

(mg/l)

(11)

	1
	Parwa

kudwari-Nai basti
	HP

PW

DW

Nala
	13

14

21

2
	6.9-7.8

7.4-8.4

7.2-8.6

8.0-8.4
	448-1379

474-1378

508-1173

655-778
	200-536

192-628

180-784

296-374
	140-324

124-266

78-388

226-254
	18-242

24-174

36-176

104-116
	10.2-97.0

9.6-69.8

14.4-70.6

41.7-46.5
	3.5-11.8

1.7-15.5

1.2-12.3

2.5-4.2

	2
	Jhirgadandi
	HP

PW

DW

River
	7

9

1

1
	7.1-7.4

7.3-7.8

7.7

8.1
	579-790

404-997

790

197
	244-376

180-418

358

84
	196-308

140-388

222

70
	112-164

110-176

80

70
	44.9-65.8

44.1-70.6

32.1

28.1
	2.8-6.3

2.5-6.7

5.0

0.40

	3
	Piparhawa
	HP

PW

DW

River

Nala
	9

11

65

1

1
	6.6-7.7

7.3-8.0

7.6-8.0

8.3

8.2
	293-1055

618-958

569-1065

240

830
	128-570

304-468

264-544

102

426
	214-428

132-258

188-288

84

254
	46-210

42-174

100-164

60

160
	18.4-84.2

16.8-69.8

40.1-65.8

24.1

64.2
	0.2-5.50

0.7-8.10

1.3-4.5

0.40

4.45

	4


	Kusmaha
	HP

PW

DW

Bandha
	24

24

7

2
	7.1-7.7

7.3-8.1

7.8-8.5

8.2-10.1
	537-986

406-1076

748-995

355-526
	176-426

158-522

276-424

172-284
	102-280

88-466

148-354

84-102
	76-190

58-264

104-220

30-100
	30.5-76.2

23.8-105.9

41.7-88.2

13.6-40.1
	0.9-9.8

1.0-14.8

2.9-6.3

1.3-2.0

	5
	Gambhirpur
	HP

PW

DW

Bandha
	10

5

6

2
	7.1-7.5

7.2-8.0

7.3-7.8

8.1-9.7
	540-1008

626-889

662-1224

559-730
	170-422

282-344

166-354

234-316
	140-308

164-346

228-528

96-150
	76-214

100-188

174-212

40-84
	30.5-85.8

40.1-75.4

69.8-85.0

26-33.7
	1.59-4.4

1.4-3.5

0.9-3.2

2.3-3.4

	6
	Khairahi
	HP

PW

DW
	26

18

16
	6.6 – 7.6

7.2 – 8.4

7.1- 8.3
	375-1 223

456 -1414

423- 1132
	80 – 398 

180-582 

160- 526
	114 – 422 

104-328 

64-348 
	34 – 186 

34-146 

24-92
	13.6 – 75.6 

13.6- 58.5 

9.6-36.9
	0.2 –2.5 

0.6-4.0 

0.5-2.2

	7
	Raspahari
	HP

PW

DW

Bauli

Bandha

Nala
	41

58

101

2

3

1
	6.8-7.9

7.2- 8.3

7.2-8.5

8.1-9.0

8.9-9.6

8.8
	447-1411

393-1254

340-1359

744

516-793

883
	120-430

130-676

104- 622

312-344

214-334

428
	102-524

104-494

84-564

194-254

116-130

212
	78-320

48-310

40-356

80-90

56-66

60
	31.3-128.2

19.3-124.3

16.0-142.7

32.1-36.1

22.5-26.5

24.1
	0.4-7.3

0.4-7.3

0.5-7.9

6.1-7.2

2.4-3.2

2.0

	8
	Karamdad
	HP

PW

DW

Bandha
	9

9

9

1
	6.8-7.4

6..8-8.0

7.0-8.1

8.9
	534-1037

296-1138

329-1166

384
	223-476

142-616

144-522

232
	140-288

78-266

126-286

88
	80-168

52-238

56-198

60
	32.1-67.4

20.8-95.4

22.5-79.4

24.1
	0.5-6.7

1.0-5.61

0.6-11.9

1.8

	9
	Manbasa
	HP

PW

DW

Bauli

Nala
	30

22

33

4

2
	6.5-7.6

7.0-8.3

7.1-8.3

7.6-7.7

7.8
	351-1172

426-1158

445-1646

641-915

770-917
	110-682

182-596

188-982

308-406

364-468
	122-512

156-470

66-406

208-322

258-288
	62-190

60-214

34-198

80-120

92-100
	24.8-76.2

24.1-85.8

13.6-79.4

32.1-48.12

36.9-40.1
	1.2-7.5

0.8-11.7

0.8-8.7

3.0-6.5

2.4-3.6

	10
	Kathauthi
	HP

PW

DW

Bandha

Nala
	31

16

72

2

1
	7.0-8.0

7.7-8.7

7.6-8.4

8.1-8.4

8.3
	362-1314-

488-1358

495-1825

484-634

791
	240-370

336-702

214-486

   -

   -
	102-344

168-356

60-392

126-196

178
	20-136

14-152

8-138

64-48

24
	8.2-54.5

5.6-60.9

3.1-55.3

27.3-15.2

9.62
	0.7-7.8

0.9-7.9

0.4-7.4

1.6-1.9

5.29

	11
	Majhauli
	HP

PW

DW

Bauli

River

Bandha
	37

46

118

3

2

1
	7.1-8.0

7.6-8.4

7.2-8.6

7.5-8.4

8.2-8.4

9.3
	549-1152

305-1248

520-1154

542-743

653-707

593
	238-478

112-442

218-548

226-314

312-352

276
	138-388

108-394

140-388

110-234

192-200

154
	22-256.0

10-154.0

14-240

14-196

38-84

28
	8.8-102.6

4.0-61.6

5.6-96.2

5.6-76.2

15.2-33.7

11.2
	0.9-5.8

0.9-5.4

0.9-6.1

3.9-4.0

72.3-2.7

3.8

	12
	Harwariya
	HP

PW

DW
	5

9

12
	6.8-7.4

7.5-8.3

6.8-7.8
	292-637

282-893

324-637
	-

-

-
	-

-

-
	-

-

-
	-

-

-
	1.4-4.9

0.7-3.7

0.6-2.9

	13
	Bardad
	HP

PW

DW
Bauli
	10

22

48

1
	6.2-7.5

6.4-7.5

6.2-7.9

7.0
	171-803

143-1277

142-1130

126
	16-328

16-316

12-434

24
	32-224

40-330

24-374

44
	18-148

14-238

22-338

34
	7.2-59.3

5.6-95.4

8.8-135.5

13.6
	1.1-8.6

0.5-6.9

0.2-7.9

2,6

	14
	Rajo
	HP

PW

DW.

Bauli

Nala
	9

4

33

4

1
	6.9-7.9

7.0-7.7

6.8-7.9

7.0-7.9

8.1
	364-602

269-335

215-608

209-413

425
	164-322

86-190

52-374

100-234

210
	150-310

92-240

104-268

142-206

180
	90-202

56-118

50-150

34-86

104
	36.1-81.0

22.5-47.3

20.0-60.1

13.6-34.5

41.7
	1.2-2.9

0.9-2.4

0.3-3.9

0.9-3.0

2.0

	15
	Bhantawari
	HP

PW

DW

Bauli

Nala
	8

19

50

4

1
	7.0-9.0

6.5-9.0

6.5-9.5

6.8-8.0

8.3
	208-812.

222-1461

153-1156

186-596

372
	96-880

78-668

36-506

100-310

152
	66-372

54-286

52-378

100-174

X
	28-168

36-260

28-242

46-106

74
	11.2-67.4

5.0-104.3

14.4-97.0

18.4-42.5

29.7
	2.4-4.8

0.4-14.8

0.4-9.8

0.9-4.2

1.96

	16
	Nemna
	HP

PW

DW

Bauli

Chaurha

Nala
	18

22

50

6

3

1
	6.4-8.4

6.8-9.9

6.6-8.2

7.2-8.3

7.7-8.4

8.3
	156-1065

364-1275

315-1520

515-860

491-570

535
	50-484

56-334

80-606

180-304

292-220

206
	62-486

114-324

80-370

128-214

96-204

106
	42-186

32-220

4-240

24-122

96-124

48
	16.8-74.6

12.8-88.2

1.6-96.2

9.6-48.9

38.5-49.7

19.2
	1.2-4.1

0.2-3.6

0.3-91

1.7-4.3

1.2-2.1

2.4

	17
	Samtharhawa
	HP

PW

DW

Bandha

Nala
	5

8

42

2

2
	7.0-8.0

7.0-8.0

6.0-8.0

6.0-7.0

7.0
	579-829

544-1186

157-1076

184-285

422-425
	196-406

128-294

40-574

52-122

182-190
	146-218

86-254

54-256

44-70

78-84
	80-126

44-176

30-186

34-62

60-68
	32.1-50.5

17.6-70.7

12.0-74.6

13.6-24.9

24.1-27.3
	1.8-4.6

2.0-11.1

0.3-14.0

0.2-0.7

1.8-2.4

	18
	Rajmilan
	HP

PW

DW

Bauli

Bandha
	23

4

27

6

1
	6.8-8.0

7.2-7.9

6.5-8.8

7.0-9.6

9.1
	393-857

468-634

303-1203

309-684

118
	84-378

104-284

54-730

122-254

254
	116-378

190-386

74-462

82-174

64
	56-176

78-146

44-250

56-114

30
	22.4-70.6

31.3-58.5

17.6-100.2

22.4-45.7

12.0
	0.7-6.5

0.4-1.8

0.4-7.8

0.4-4.1

0.5

	19
	Bichhiyari
	HP

PW

DW

Bauli

Bandha

River
	3

9

20

1

1

2
	7.1-7.2

7.0-8.3

6.8-7.9

8.4

8.1

7.6-8.6
	575-1083

422-1080

191-852

708

311

459-698
	258-462

96-488

76-336

322

120

208-254
	158-374

116-390

106-300

138

100

154-182
	118-232

50-262

280-152

70

60

84-86
	47.3-93.1

20.0-105-1

160-60.9

28.0

24.1

33.7-34.5
	1.9-3.3

1.0-6.5

0.7-7.5

3.2

0.9

1.9-2.1 


HP – Handpump; PW – Pucca well; DW – Dug well
In general, fluoride concentrations were in a similar range in hand pumps, pucca wells and dug wells. In Chetwa, Ammadad, Harwariya, Bardad and Rajo Bhantawari and Nemna, however, fluoride concentrations were higher in hand pumps than the open wells.  It seems that the upper rocks strata contain lower amounts of fluoride as compared to the deeper strata. Due to the undulating topography of the area, however, it is not possible to make any generalization about the depth to which safe water can be found

Relationship Between Severity of Fluorosis and Fluoride Concentrations  

Data showing the relationship between the severity of fluorosis and fluoride concentrations was extracted from the fluorosis mapping exercises and the water quality monitoring exercises. It is summarized in Table 4. The average fluoride concentrations in drinking water corresponding to different degrees of severity of fluorosis were also calculated and shown in Table 5 and Fig. 1.  

The ill-effects of fluorides in drinking water depend upon several factors, e.g., nutrition of the person at risk, the exposure period, etc.(1) Hence the same level of exposure to fluorides can have different effects on different people. Varying concentrations of fluoride in drinking water cause different degrees of fluorosis in Sonebhadra district. Table 4 shows that cases of mild dental fluorosis (discolouration of teeth) occur at fluoride concentrations as low as 2 mg/l. About 80% of the moderate dental fluorosis (appearance of striations on teeth) cases are associated with sources containing >3 mg/l.  The average fluoride concentration for severe dental fluorosis (loss of teeth) is about 5 mg/l. While three persons using water containing above 3 mg/l reported mild skeletal fluorosis (aching joints but no visible stiffening), the average for the remaining 30 cases was above 7 mg/l. Crippling skeletal fluorosis (inability to walk without support) on the other hand most likely sets in due to exposure to fluoride concentration of more than 9.5 mg/l.   

.Table: 3, Fluoride Concentrations in Different Sources of Drinking Water

	S. No.
	Range of Fluoride (mg/l)
	Number of Drinking Water Sources
	Total

	
	
	HP
	PW
	DW
	Bauli
	Bandha
	River
	Nala
	

	1
	2
	3
	4
	5
	6
	7
	8
	9
	(10)No.
	(11)%

	1.
	Parwakodwari – Naibasti

	
	1.2 – 2.0
	-
	1
	4
	-
	-
	-
	-
	5
	10

	
	2.1 – 6.0
	9
	9
	14
	-
	-
	-
	2
	34
	70

	
	6.1 – 10.0
	1
	2
	2
	-
	-
	-
	-
	5
	10

	
	>10
	2
	2
	1
	-
	-
	-
	-
	5
	10

	2.
	Jhirgadandi

	
	0.4 – 2.0
	-
	1
	-
	-
	-
	1
	-
	2
	11

	
	2.1 – 6.0
	6
	7
	1
	-
	-
	-
	-
	14
	78

	
	6.1 – 10.0
	1
	1
	-
	-
	-
	-
	-
	2
	11

	3.
	Piprahawa

	
	0.2 – 2.0
	2
	1
	1
	-
	-
	1
	-
	5
	19

	
	2.1 – 6.0
	7
	8
	4
	-
	-
	-
	1
	20
	74

	
	6.1 – 10.0
	-
	2
	-
	-
	-
	-
	-
	2
	7

	4.
	Kushmaha

	
	0.9 – 2.0
	6
	9
	-
	-
	1
	-
	-
	16
	28

	
	2.1 – 6.0
	16
	12
	6
	-
	1
	-
	-
	36
	63

	
	6.1 – 10.0
	2
	1
	1
	-
	-
	-
	-
	4
	7

	
	>10
	-
	1
	-
	-
	-
	-
	-
	1
	2

	5.
	Gambhirpur

	
	0.9 – 2.0
	2
	2
	4
	-
	-
	-
	-
	8
	35

	
	2.1 – 6.0
	8
	3
	2
	-
	2
	-
	-
	15
	65

	6.
	Khairahi

	
	0.2 – 2.0
	20
	10
	10
	-
	-
	-
	-
	40
	67

	
	2.1 – 6.0
	6
	8
	6
	-
	-
	-
	-
	20
	33

	7.
	Raspahari

	
	0.4 – 2.0
	20
	27
	44
	-
	-
	1
	1
	93
	45

	
	2.1 – 6.0
	20
	30
	55
	-
	2
	-
	-
	107
	52

	
	6.1 – 10
	1
	1
	2
	2
	-
	-
	-
	6
	3

	8.
	Karamdad

	
	0.5 – 2.0
	6
	1
	2
	-
	1
	-
	-
	10
	36

	
	2.1 – 6.0
	2
	8
	6
	-
	-
	-
	-
	16
	58

	
	6.1 – 10.0
	1
	-
	-
	-
	-
	-
	-
	1
	3

	
	>10
	-
	-
	1
	-
	-
	-
	-
	1
	3

	9.
	Manbasa

	
	0.8 – 2.0
	6
	4
	8
	-
	-
	-
	-
	18
	20

	
	2.1 – 6.0
	21
	15
	21
	3
	-
	1
	-
	61
	67

	
	6.1 – 10.0
	3
	2
	5
	1
	-
	-
	-
	11
	12

	
	>10
	-
	1
	-
	-
	-
	-
	-
	1
	1

	10.
	Kathaundhi

	
	0.4 – 2.0
	10
	7
	25
	-
	2
	-
	-
	44
	36

	
	2.1 – 6.0
	20
	7
	40
	-
	-
	1
	-
	68
	56

	
	6.1 – 10.0
	1
	2
	7
	-
	-
	-
	-
	10
	7


	11.
	Majhauli

	
	0.9 – 2.0
	11
	17
	38
	1
	-
	-
	-
	67
	32.5

	
	2.1 – 6.0
	26
	29
	79
	2
	1
	2
	-
	139
	67

	
	6.1 – 10.0
	-
	-
	1
	-
	-
	-
	-
	1
	0.5

	1
	2
	3
	4
	5
	6
	7
	8
	9
	10
	11

	12.
	Chetwa

	
	0.1 – 2.0
	20
	11
	20
	-
	-
	-
	-
	51
	82

	
	2.1 – 6.0
	7
	2
	2
	-
	-
	-
	-
	11
	18

	13.
	Ammadad

	
	0.3 – 2.0
	2
	2
	15
	-
	-
	-
	-
	19
	65

	
	2.1 – 6.0
	2
	1
	7
	-
	-
	-
	-
	10
	35

	14.
	Harwariya

	
	0.6 – 2.0
	4
	4
	9
	-
	-
	-
	-
	17
	65

	
	2.1 – 6.0
	1
	5
	3
	-
	-
	-
	-
	9
	35

	15.
	Bardad

	
	0.2 – 2.0
	3
	6
	26
	-
	-
	-
	-
	35
	43

	
	2.1 – 6.0
	6
	15
	21
	1
	-
	-
	-
	43
	53

	
	6.1 – 10.0
	1
	1
	1
	-
	-
	-
	-
	3
	4

	16.
	Rajo

	
	0.3 – 2.0
	4
	3
	22
	3
	-
	-
	1
	33
	65

	
	2.1 – 6.0
	5
	1
	11
	1
	-
	-
	-
	18
	35

	17.
	Bhantawari

	
	0.4 – 2.0
	4
	8
	33
	3
	-
	-
	1
	49
	58

	
	2.1 – 6.0
	4
	8
	14
	1
	-
	-
	2
	29
	35

	
	6.1 – 10.0
	-
	2
	3
	-
	-
	-
	-
	5
	6

	
	>10
	-
	1
	-
	-
	-
	-
	-
	1
	1

	18.
	Nemna

	
	0.2 – 2.0
	7
	14
	22
	2
	-
	-
	-
	45
	45

	
	2.1 – 6.0
	11
	8
	27
	4
	-
	-
	1
	51
	51

	
	6.1 – 10
	-
	-
	4
	-
	-
	-
	-
	4
	4

	19.
	Samtharahawa

	
	0.2 – 2.0
	2
	1
	14
	-
	2
	-
	1
	20
	34

	
	2.1 – 6.0
	3
	6
	23
	-
	-
	-
	1
	33
	56

	
	6.1 – 10
	-
	-
	4
	-
	-
	-
	-
	4
	7

	
	>10
	-
	1
	1
	-
	-
	-
	-
	2
	3

	20.
	Rajmilan

	
	0.4 – 2.0
	8
	4
	15
	3
	1
	-
	-
	31
	51

	
	2.1 – 6.0
	14
	-
	10
	3
	-
	-
	-
	27
	44

	
	6.1 – 10
	1
	-
	2
	-
	-
	-
	-
	3
	5

	21.
	Bichhiyari

	
	0.7 – 2.0
	1
	3
	14
	-
	1
	-
	1
	20
	55

	
	2.1 – 6.0
	2
	5
	5
	1
	-
	-
	1
	14
	38

	
	6.1 – 10
	-
	1
	1
	-
	-
	-
	-
	2
	7


Total Monitored Sources – 1477,  (- ) Not found

Index  ; HP – Hand pump,  PW – Pucca well,  DW – Dug well

Fluoride: < 2 mg/l – Acceptable, 2.1 – 6.0 – Harmful, 6.1 – 10 – Dangerous >10.0 – Very Dangerous
Table: 4 Fluoride Concentrations in Drinking Water and The Severity of Fluorosis
	Fluoride conc.

in drinking

water

 (mg/l)   

    1
	Severity of Fluorosis

	
	Dental Fluorosis


	Skeletal Fluorosis



	
	Non affected
	Suspected
	Mild
	Moderate
	Severe
	Mild
	Moderate
	Crippling

	
	2
	3
	4
	5
	6
	7
	8
	9

	
	No.
	%
	No.
	%
	No.
	%
	No.
	%
	No.
	%
	No.
	%
	No.
	%
	No.
	%

	<2.0
	50
	65
	3
	14
	14
	10
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*

	2.1-2.5
	15
	19
	3
	14
	38
	29
	7
	11
	*
	*
	*
	*
	*
	*
	*
	*

	2.6-3.0
	2
	3
	5
	23
	15
	11
	7
	11
	1
	11
	*
	*
	*
	*
	*
	*

	3.1-3.5
	2
	3
	1
	4
	13
	10
	12
	18
	1
	11
	2
	6
	*
	*
	2
	5

	3.6-4.0
	3
	4
	5
	23
	14
	10
	16
	[image: image2.wmf]Fig. 1  :Average fluoride conc. for different levels of fluorosis severity 

1.89

3.15

3.27

5.24

7.12

7.1

11.13

4.22

0

2

4

6

8

10

12

 Non

affected

Suspected

Mild dental

fluorosis

Moderate

dental

fluorosis

Severe

dental

fluorosis

Mild

skeletal

fluorosis

Moderate

skeletal

fluorosis

Crippling

skeletal

fluorosis

Severity of fluorosis

Fluoride conc. in mg/l.

24
	2
	22
	*
	*
	*
	*
	*
	*

	4.1-4.5
	4
	5
	5
	23
	18
	14
	6
	9
	2
	22
	1
	3
	2
	11
	*
	*

	4.6-5.0
	*
	*
	*
	*
	7
	5
	4
	6
	*
	*
	*
	*
	*
	*
	*
	*

	5.1-5.5
	1
	1
	*
	*
	6
	5
	4
	6
	*
	*
	*
	*
	*
	*
	*
	*

	5.6-6.0
	*
	*
	*
	*
	2
	2
	4
	6
	1
	11
	*
	*
	*
	*
	*
	*

	6.1-6.5
	*
	*
	*
	*
	1
	1
	1
	2
	*
	*
	11
	33
	1
	5
	*
	*

	6.6-7.0
	*
	*
	*
	*
	*
	*
	*
	*
	1
	11
	4
	12
	8
	42
	1
	3

	7.1-7.5
	*
	*
	*
	*
	3
	2
	1
	2
	*
	*
	3
	9
	3
	16
	*
	*

	7.6-8.0
	*
	*
	*
	*
	*
	*
	2
	3
	*
	*
	7
	21
	3
	16
	1
	3

	8.1-8.5
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*

	8.6-9.0
	*
	*
	*
	*
	1
	1
	*
	*
	*
	*
	*
	*
	*
	*
	1
	3

	9.1-9.5
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*

	9.6-10.0
	*
	*
	*
	*
	*
	*
	*
	*
	*
	*
	3
	9
	1
	5
	6
	15

	>10.0
	*
	*
	*
	*
	1
	1
	2
	3
	1
	11
	2
	6
	1
	5
	28
	78

	Total
	77
	
	22
	
	133
	
	66
	
	9
	
	33
	
	19
	
	39
	


* Not found



Table 5, Average fluoride concentration for different severity levels of fluorosis

	Severity of fluorosis


	Number of  cases 
	Average fluoride conc. in

drinking water(mg/l)

	 Non affected
	77
	1.89

	Suspected
	22
	3.15

	Mild dental fluorosis
	143
	3.27

	Moderate dental fluorosis
	66
	4.22

	Severe dental fluorosis
	9
	5.24

	Mild skeletal fluorosis
	33
	7.12

	Moderate skeletal fluorosis
	19
	7.1

	Crippling skeletal fluorosis
	39
	11.13


Strategies for Fluorosis Mitigation and Control

The data on fluoride concentrations in the water from the different sources and the extent of fluorosis prevalence was shared with the communities at well-attended meetings in each village.  These meetings were also used to raise awareness about various aspects of the subject.  The communities were informed about:

· The causes and harmful effects of fluorosis

· Nutritional interventions

· Certain precautions in fighting the disease

· Safe drinking water, a fundamental right

· Alternative sources of safe drinking water in respect to fluoride concentration 

 

· Regular monitoring of water quality particularly with respect to fluoride concentration

· Sensitization of different groups within the society and the administration about fluorosis and their mitigation measures

Separate meetings were held with the community in each village to determine ways of accessing water supply with safe levels of fluorides.  Among the options considered were:

    i)
Extending access to existing drinking water sources containing less than 1.5mg/l fluoride concentration 

ii) Renovation or construction of sanitary wells at existing wells with less than 1.5mg/l fluoride concentration

iii) Installation of tube wells at locations of safe water 

iv) Roof rainwater harvesting

v) Deflouridation of water using Nalgonda technique, activated alumina or reverse osmosis 

As a demonstration, activated alumina based domestic deflouridation kits were provided to five families.  Later the district administration also distributed similar kits in Parwakodwari.  To meet the increasing demand for such kits at a later time, PSI offered to establish a kit-recharging facility at BSA’s campus. Flouride removal efficiencies of the kits distributed were tested and the data (Table 6) were shared with the communities.  

Table: 6, Defluoridation efficiency of Activated Alumina (AA) Kits

	S.N.


	Name of the AA kit user


	Conc. of Fluoride

in the inlet (mg/l)


	Conc. of Fluoride

in the outlet (mg/l)


	% Removal of

Fluoride



	1
	Rohan
	11.6
	3.2
	72.4

	2
	Vindhyachal Sharma
	11.6
	1.82
	84.3

	3
	Jai Ram Prasad
	1.66
	0.45
	72.9

	4
	Manik Chandra
	7.69
	3.2
	58.4

	5
	Parikha Patel
	3.34
	0.43
	87.1

	6
	Rajkumar *
	3
	2.1
	30

	7
	Neeraj
	2.21
	0.4
	82


* Kit was provided by district administration & examined 2 months after  distribution.


Based on these discussions and information about the costs and appropriate management systems for each option, each village prepared a detailed fluorosis mitigation plan.  The proposals for accessing fluoride-free water are summarized in Table 7.  They cover 2146 households out of the total 3875 households in the 21 targetted villages. The estimated cost of Rs 80,70,000.00 works out to an approximate cost of Rs 632 per beneficiary.   Among the possible sources of funds identified with the help of the villagers were:

· Village Panchayats:  They can implement mitigation measures upto Rs50,000 per year

· Industries like Hindalco, NTPC or Kanoria Chemicals in Renukoot who are engaged in implementing community welfare and development activities in the region

· The Singrauli Special Area Development Authority which is responsible for implementing development plans at the village level 

· Voluntary organizations in the area

· Rajiv Gandhi National Drinking Water Mission

Table 7:  Summary of Proposals for Fluorosis Mitigation in the Targetted Villages

	S. No.
	  Mitigation Measure
	No.
	Estimated Cost Rs.
	Number of Beneficiaries

	1
	Conversion of existing safe dug well into a sanitary well
	62
	25,62,000.00
	830 households

	2
	Conversion of existing safe concrete well into a sanitary well
	23
	6,00,000.00
	

	3
	Hand Pump with attached AA kit
	48
	3,84,000.00
	735 households and 970 school children of 9 schools

	4
	Borewell with hand pump and attached AA kit 
	2
	1,70,000.00
	20 households

	5
	AA Domestic kit
	543
	5,43,000.00
	543 household

	6
	Individual Roof rain water harvesting 
	1
	22,000.00
	1 household

	7
	Community Roof rain water harvesting
	2
	3,33,000.00
	17 households

	8
	Total
	
	80,70,000.00
	2146 household and 970 school children


 

ACKNOWLEDGEMENT

This project has been made possible with a grant from The Ford Foundation, New Delhi. The authors are grateful to Dr G D Agrawal, Hon. Professor, Mahatma Gandhi Gramodaya Vishwavidyalaya, Chitrakoot (M.P.) and Dr Ragini Prem for providing guidance and support. The field assistance of the Banwasi Seva Ashram staff is gratefully acknowledged.

REFERENCES

1. SUSHEELA,  A.K. : A Treatise on Fluorosis, Fluorosis Research and Rural Development Foundation, New Delhi, 2001.

2. ___________ : Standard Methods for the Examination of Water and Wastewater, American Public Health Association, 1998.





� EMBED Excel.Chart.8 \s ���




































































* Research Scientist, Peoples’ Science Institute, Dehra Doon











PAGE  
11

_1185284970.xls
Chart2

		Non affected

		Suspected

		Mild dental fluorosis

		Moderate dental fluorosis

		Severe dental fluorosis

		Mild skeletal fluorosis

		Moderate skeletal fluorosis

		Crippling skeletal fluorosis



Severity of fluorosis

Fluoride conc. in mg/l.

Fig. 1  :Average fluoride conc. for different levels of fluorosis severity

1.89

3.15

3.27

4.22

5.24

7.12

7.1

11.13



Chart1

		1.89

		3.15

		3.27

		4.22

		5.24

		7.12

		7.1

		11.13



Intesity of fluorosis

Fluoride conc. mg/l

Average fluoride conc. in drinking water of defferent degree of fluorosis cases



Sheet1

		Average fluoride concentration in drinking water of different digree  of fluorosis cases

		S.NO		Status of flurosis		No cases taken		Average fluoride

								conc. in

								drinking water(mg/l)

		1		Non effected		77		1.89

		2		Suspected		22		3.15

		3		Mild dental fluorosis		143		3.27

		4		Moderate dental fluorosis		66		4.22

		5		Severe dental fluorosis		9		5.24

		6		Mild skeletol fluorosis		33		7.12

		7		Moderate skeletol fluorosis		19		7.1

		8		Crippling skeletol fluorosis		39		11.13

				Non affected		1.89

				Suspected		3.15

				Mild dental fluorosis		3.27

				Moderate dental fluorosis		4.22

				Severe dental fluorosis		5.24

				Mild skeletal fluorosis		7.12

				Moderate skeletal fluorosis		7.1

				Crippling skeletal fluorosis		11.13





Sheet1

		



intesity of fluorosis

Fluoride conc. in mg/l.

Average fluoride conc. in drinking water of different degree of fluorosis



Sheet2

		Table : Testing the defluoridation efficiency of Activated Alumina(AA) Kit

		S.N.		Name of the AA kit user		Conc. of Fluoride		Conc. of Fluoride		% Removal of

						in the inlet(ppm)		in outlet(ppm)		Fluoride

		1		Rohan		11.6		3.2		72.4

		2		Vindhyachal Sharma		11.6		1.82		84.3

		3		Jai Ram Prasad		1.66		0.45		72.9

		4		Manik Chandra		7.69		3.2		58.4

		5		Parikha Patel		3.34		0.43		87.1

		6		Rajkumar *		3		2.1		30

		7		Neeraj		2.21		0.4		82

				* Kit was provided by district administration & examined later for 2 month of

				establishment of kit





Sheet3

		Table:Relationship Between Fluoride Concentration in Drinking Water & various degree amount of Fluorosis

		Fluoride conc.		Various Degree Amount of Fluorosis cases

		in drinking		Dental Fluorosis																				Skeletal Fluorosis

		water		Non affected				Suspected				Mild				Moderate				Severe				Mild				Moderate				Crippling

		(mg/l)         1		2				3				4				5				6				7				8				9

				No.		%		No.		%		No.		%		No.		%		No.		%		No.		%		No.		%		No.		%

		<2.0		50		65		3		13.6		14		10		*		*		*		*		*		*		*		*		*		*

		2.1-2.5		15		19		3		13.6		38		28.6		7		11		*		*		*		*		*		*		*		*

		2.6-3.0		2		3		5		23		15		11.3		7		11		1		11		*		*		*		*		*		*

		3.1-3.5		2		3		1		4		13		9.8		12		18		1		11		2		6		*		*		2		5

		3.6-4.0		3		4		5		23		14		10		16		24		2		22		*		*		*		*		*		*

		4.1-4.5		4		5		5		23		18		13.5		6		9		2		22		1		3		2		11		*		*

		4.6-5.0		*		*		*		*		7		5		4		6		*		*		*		*		*		*		*		*

		5.1-5.5		1		1		*		*		6		5		4		6		*		*		*		*		*		*		*		*

		5.6-6.0		*		*		*		*		2		2		4		6		1		11		*		*		*		*		*		*

		6.1-6.5		*		*		*		*		1		1		1		2		*		*		11		33		1		5		*		*

		6.6-7.0		*		*		*		*		*		*		*		*		1		11		4		12		8		42		1		3

		7.1-7.5		*		*		*		*		3		2		1		2		*		*		3		9		3		16		*		*

		7.6-8.0		*		*		*		*		*		*		2		3		*		*		7		21		3		16		1		3

		8.1-8.5		*		*		*		*		*		*		*		*		*		*		*		*		*		*		*		*

		8.6-9.0		*		*		*		*		1		1		*		*		*		*		*		*		*		*		1		3

		9.1-9.5		*		*		*		*		*		*		*		*		*		*		*		*		*		*		*		*

		9.6-10.0		*		*		*		*		*		*		*		*		*		*		3		9		1		5		6		15

		>10.0		*		*		*		*		1		1		2		3		1		11		2		6		1		5		28		78

		Total		77				22				133				66				9				33				19				39






